Cleaning instructions for Polyurethane, Polycarbonate, and Lectrolite®

Clean with a non- aggressive, disinfectant cleaner. Casco urethane covers were tested with the following chemicals. None were found to cause fading or damage to the material.

- Advanced Sterilization Products: Cidex

- Airkem: A456-N

- Caltech: Dispatch

- Cosco: Tincture of Green Soap

- Ecolab: A456—II Disinfectant Cleaner

- Isopropyl Rubbing Alcohol 70%

- METREX: Cavi-Wipes

- METREX: Cavicide

- PDI: Super Sani-Cloth Plus Germicidal Cloth

- Spartan: SD-20

- Spartan: Hepacide Quat II

- Veridien: Viraguard Wipes

- VIROX: Accel

- VIROX: 256

- Clorox: Healthcare Bleach Wipes

- Sporicidin: Sterilization Solution

- Steris: Coverage Wipes Plus

NOTE:

It is necessary that the disinfectant manufacturer’s dilution ratios and application procedure be followed.

After the disinfectant manufacturer’s dwell time has been achieved, the surface must be immediately and thoroughly rinsed with warm water.

Do not allow the disinfectant to pool on the surface longer than the disinfectant manufacturer’s dwell time.

Do not allow the disinfectant to dry on the surface.

CLEANING AND DISINFECTION OF CASCO NYLON MATTRESS COVERS

- Do not Launder. To remove ordinary stains or dirt, wipe fabric clean with soapsuds and lukewarm water. Rinse with water and allow it to dry.

- To remove hard to clean spots, spot clean using a brush with a non-abrasive household cleanser. DO NOT, use harsh cleaners and solvents.

- Phenolic-based disinfectants and diluted solutions od sodium hypochlorite (bleach) or hydrogen peroxide disinfectants (in a concentration level up to 7.5%) can be used on the Casco nylon cover. All commercial use of these disinfectants must be performed per the solution manufacturer’s instructions. Test solutions on less visible area for colorfastness prior to cleaning. Iodine based disinfectants are not recommended as solutions for cleaning cover fabric due to potential staining of contacted surfaces.

- Make sure to rinse thoroughly with water after using any cleansers to completely remove any remaining chemicals from the fabric surface.

- NOTE, continuous use of cleaners and disinfectants will eventually degrade fabric. Avoid use of cleanses/disinfectants when not necessary.